[image: image1.jpg]



EM KOREA SOLAR ENERGY SYSTEM

[image: image2.emf]
[image: image3.emf]
 Power Station in Spain
[image: image4.emf]
[image: image5.emf]   [image: image6.jpg]



Company Introduction
Working Equipments
[image: image7.emf] [image: image8.emf]
Finished Product Testing
[image: image9.emf] 
Solar Home Power System
EM-SH500

[image: image10.jpg]



	Technical data

	Capacity
	500VA

	Rated output Power
	400W

	System voltage
	DC 24V

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Output current
	1.09A (220V) / 2.18A (110V)

	Solar panel
	Pmax
	100W

	
	Vmp
	35V

	
	Imp
	2.9A

	Changer
	Changer voltage & current
	24V 10A

	Battery
	Capacity
	24V 100AH

	Quotation(Korean port)
	USD2640/Set


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	1
	4
	3 days

	TV Receivers
	25
	1
	4
	

	LCD Computer
	100
	1
	2
	

	Lamp
	11
	2
	3.5
	


Solar Home Generator System
EM-SH300
[image: image11.jpg]



	Technical data

	Capacity
	300W

	System voltage
	DC 24V

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Precision of output frequency
	±6%

	Solar panel
	Pmax
	50W

	
	Vmp
	17.5V

	
	Imp
	2.9A

	Changer
	Changer voltage & current
	12V 10A

	Battery
	Capacity
	12V 120AH

	Quotation(Korean port)
	USD990/set(sample)

USD757.5/set(>10 sets)


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	1
	3
	3 days

	Satellite TV
Receivers
	25
	1
	3
	

	Lamp
	11
	2
	8
	


DC Solar Home Power System
EM-SH20                
[image: image12.jpg]


 
	Technical data

	System
	Capacity
	20W

	
	System voltage
	DC 12V

	
	Output voltage
	DC 12V

	Solar panel
	Pmax
	10W

	
	Vmp
	17.5V

	
	Imp
	0.6A

	Battery
	Capacity
	12V 17AH

	Quotation(Korean port )
	USD247.5/Set(sample)

USD187.5/Set(>20sets)


	Load reference

	Name Of Load
	Working Time(H)

	5W Energy-saving Lamp Only
	30 continued hours

	11W Energy-saving Lamp Only 
	15 continued hours

	5W & 11W Energy-saving Lamp
	10 continued hours


DC Solar Power System
EM-SH60
[image: image13.jpg]



	Technical data

	System
	Capacity
	60W

	
	System voltage
	DC 12V

	
	Output voltage
	DC 12V

	Solar panel
	Pmax
	20W

	
	Vmp
	17.5V

	
	Imp
	1.1A

	Battery
	Capacity
	12V 33AH

	Quotation (Korean Port)
	USD345/Set(sample)

USD262.5/Set(>20sets)


	Load reference

	Name Of Load
	Working Time(H)

	5W Energy-saving Lamp Only
	50 continued hours

	11W Energy-saving Lamp Only 
	16 continued hours

	5W & 11W Energy-saving Lamp
	12 continued hours


Solar Home System
EM-SH150L            
[image: image14.jpg]


  
	Technical data

	Capacity
	150W

	System voltage
	DC 12V

	Best output power everyday
	173WH

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Precision of output frequency
	±6%

	Solar panel
	Pmax
	50W

	
	Vmp
	17.5V

	
	Imp
	2.9A

	Battery
	Capacity
	12V 75AH

	Quotation(Korean port )
	USD634.5/set(sample)

USD486/set (>10 sets)


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	1
	2
	3 days

	Lamp
	11
	2
	6
	


Solar Home Power System
EM-SH150H

[image: image15.jpg]



	Technical data

	Capacity
	150W

	System voltage
	DC 12V

	Best output power everyday
	346WH

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Precision of output frequency
	±6%

	Solar panel
	Pmax
	100W

	
	Vmp
	17.5V

	
	Imp
	5.7A

	Battery
	Capacity
	12V 120AH

	Quotation(Korean port )
	USD634.5/set(sample)

USD486/set (>10 sets)


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	1
	3
	3 days

	Lamp
	11
	2
	8
	


Solar Home Power System
EM-SH300L
[image: image16.jpg]



	Technical data

	Capacity
	300VA

	System voltage
	DC 24V

	Best output power everyday
	350WH

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Output current
	1.09A (220V) / 2.18A (110V)

	Solar panel
	Pmax
	100W

	
	Vmp
	35V

	
	Imp
	2.9A

	Battery
	Capacity
	24V 65AH

	Quotation(Korean port)
	USD990/set(sample)

USD825/set(>10 sets)


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	1
	4
	3 days

	Satellite TV
Receivers
	25
	1
	4
	

	Lamp
	11
	2
	2
	


Solar Home Generator System
EM-SH500L
[image: image17.jpg]



	Technical data

	Capacity
	500VA

	System voltage
	DC 24V

	Best output power everyday
	700WH

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Output current
	1.82A (220V) / 3.64A (110V)

	
	Precision of output voltage
	±3%

	
	Precision of output frequency
	±6%

	
	False output wave of AC
	< 3%

	
	Overload ability
	120%, 30 seconds

	
	Invert efficiency
	> 85%

	Solar panel
	Pmax
	200W

	
	Vmp
	35V

	
	Imp
	5.7A

	Battery
	Capacity
	24V 100AH

	Quotation(Korean Port)
	USD10740/Set


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	1
	4
	3 days

	Satellite TV
Receivers
	25
	1
	4
	

	LCD Computer
	100
	1
	2
	

	Lamp
	11
	2
	3.5
	


Solar Home System
EM-SH1000L
[image: image18.jpg]



	Technical data

	Capacity
	1000VA

	System voltage
	DC 48V

	Best output power everyday
	1460WH

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Output current
	3.6A (220V) / 7.3A (110V)

	
	Precision of output voltage
	±3%

	
	Precision of output frequency
	±0.1%

	
	False output wave of AC
	< 3%

	
	Overload ability
	120%, 30 seconds

	
	Invert efficiency
	> 85%

	Solar panel
	Pmax
	400W

	
	Vmp
	70V

	
	Imp
	5.7A

	Battery
	Capacity
	48V 120AH

	Quotation(Korean Port)
	USD3465/Set


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	1
	6
	3 days

	Satellite TV
Receivers
	25
	1
	6
	

	LCD Computer
	100
	1
	5
	

	Lamp
	11
	6
	6
	

	Printer
	30
	1
	1
	

	Electrograph
	150
	1
	1
	

	Water Pump
	200
	1
	2
	


Solar Off-grid Power System
[image: image19.jpg]PV Array

Sunlight passes though the siicone viafers in AC Disconnect

the PV modules knocking loose electrons "AC output from your inverter and AC
which flow into wires as Direct Current (DC) power from back-up power sources like
electricity. / generators if used are combined here

with circuit breakers.

AC Panel
'AC 0ads are connected here
with circut breakers.

The PV modules are wired
together in a combiner box to
output the correct system
voltage (VDC).

Charge Controller
Controls the voltage gong

into the batteries and maintains.
the battery bank charge at
pre-programmed limits.

DC Disconnect
‘System shut-off wilh cicui breakers and
‘ground fault protection. Required by code
t0 ensure that all parts of system can be
disconnected from all sources of power.

Direct Current (DC) electricity from the PV Aray
is converted to Alternating Current (AC)
electricity to supply the house loads.

Batieries store the energy generated by your
system during the day for use if the grid
goes down.

Off-Grid System EM KOREA Energy Mfg





Stand alone type off-grid solar system
How A Solar System Works
Solar panel or an array (many panels connected in series) in the solar system 

convert sunlight into electricity during daylight hours. An inverter converts 
DC into AC (alternating current) and store the electrical power into storage battery, and the storage battery would supply power to the electrical appliances at night.
[image: image20.emf]
EM-SH2000L
[image: image21.jpg]



	Technical data

	Capacity
	2000VA

	System voltage
	DC 110V

	Best output power everyday
	3378WH

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Output current
	7.2A (220V) / 14.5A (110V)

	
	Precision of output voltage
	±3%

	
	Precision of output frequency
	±0.1%

	
	False output wave of AC
	< 3%

	
	Overload ability
	120%, 30 seconds

	
	Invert efficiency
	> 85%

	Solar panel
	Pmax
	900W

	
	Vmp
	157.5V

	
	Imp
	5.7A

	Battery
	Capacity
	108V 100AH

	Quotation(Korean Port)
	USD9000/Set


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	1
	6
	3 days

	Satellite TV
Receivers
	25
	1
	6
	

	LCD Computer
	100
	1
	2.5
	

	Lamp
	11
	6
	6
	

	Printer
	30
	1
	1
	

	Electrograph
	150
	1
	1
	

	Water Pump
	200
	1
	2
	

	Refrigeratory
	100
	1
	24
	

	Washing machine
	300
	1
	0.5
	


EM-SH3000L
[image: image22.jpg]



	Technical data

	Capacity
	3000VA

	System voltage
	DC 110V

	Best output power everyday
	6000WH

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Output current
	10.9A (220V) / 21.8A (110V)

	
	Precision of output voltage
	±3%

	
	Precision of output frequency
	±0.1%

	
	False output wave of AC
	< 3%

	
	Overload ability
	120%, 30 seconds

	
	Invert efficiency
	> 85%

	Solar panel
	Pmax
	1600W

	
	Vmp
	160V

	
	Imp
	10A

	Battery
	Capacity
	108V 150AH

	Quotation(Korean Port)
	USD12000/Set


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	2
	6
	3 days

	Satellite TV
Receivers
	25
	2
	6
	

	LCD Computer
	100
	2
	5
	

	Energy-saving lamp
	11
	6
	6
	

	Printer
	30
	1
	1
	

	Electrograph
	150
	1
	1
	

	Water Pump
	200
	1
	1
	

	Refrigeratory
	100
	1
	24
	

	Washing machine
	300
	1
	1
	

	Rice cooker
	1000
	1
	1
	


Solar Off-grid Generator System
EM-SH5000L
[image: image23.jpg]



	Technical data

	Capacity
	5000VA

	System voltage
	DC 220V

	Best output power everyday
	6756WH

	Inverter
	Output wave
	Pure sine wave

	
	Output voltage
	AC 110 / 220V

	
	Output frequency
	50HZ / 60HZ

	
	Output current
	18.2A (220V) / 36.4A (110V)

	
	Precision of output voltage
	±3%

	
	Precision of output frequency
	±0.1%

	
	False output wave of AC
	< 3%

	
	Overload ability
	120%, 30 seconds

	
	Invert efficiency
	> 85%

	Solar panel
	Pmax
	1800W

	
	Vmp
	315V

	
	Imp
	5.7A

	Battery
	Capacity
	216V 100AH

	Quotation(Korean Port)
	USD28650/Set


	Load reference

	Name Of Load
	Power(W)
	QTY(PCS)
	Working Time per Day(H)
	Working Day

	Color TV
	65
	1
	6
	3 days

	Satellite TV
Receivers
	25
	1
	6
	

	LCD Computer
	100
	1
	2.5
	

	Energy-saving lamp
	11
	6
	6
	

	Printer
	30
	1
	1
	

	Electrograph
	150
	1
	1
	

	Water Pump
	200
	1
	1
	

	Refrigeratory
	100
	1
	24
	

	Washing machine
	300
	1
	0.5
	

	Rice cooker
	1200
	1
	5
	


Exhibision & Sales office

#101,102, Hiyoung Bldg, #1581-2, Sa(3)-dong, Sangrok-gu, Ansan-si, Gyeonggi-do, Korea.

T e l : 82-31-415-7777      070-8610-6699

Head Office / R&D Center 

#603, Technology Development Center, GYEONGGI TECHNOPARK, 

Sa(1)-dong, Sangrok-gu, Ansan-city, Gyeonggi-do, Korea.

T e l : 82-31-415-7777(Int'L)   82-31-5004-777(5 Lines)                                 F a x : 82-31-5003-444

Factory  

  #1271-11, Sa(1)-dong, sangrok-gu,Ansan-city, Gyeonggi-do, Korea.

T e l : 82-31-4934-777(5 Lines)      F a x : 82-31-4915-444

http://www.euromotors.co.kr     euromotors@naver.com
